## COMBINED_ATTRIBUTES
Field | TPLNR | CLASS | KLART | POSNUMMER | ATNAM | ATWRT | Characteristics UoM | Remarks | Additional | REF | Source_PDF
44-76-XTGD-5401 | FG-FGAS | 3 | 1 | NACC01 | ±10 | Accuracy | % |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 2 | HSE-HAZ_AREA | Hazardous Area | Area Classification |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 3 | CALR01 | 0–50 | Calibrated Range | ppm |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 4 | DETCOMM | 4–20 mA (HART) | Detector Communication |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 5 | ENVIRONT |  | Environment |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 6 | ACFS01 | Warning, Alarm | Fail Safe State |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 7 | POWREQ | 24 VDC | Power Requirement | V |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 8 | TEMP01 | -40 to +75 | Operating Temperature | °C |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 9 | CERTIF | ATEX, IECEx | Certification |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 10 | MFGR | TYCO | Manufacturer |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 11 | MODEL | H2S Gas Detector | Model/Type |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 12 | CONN01 | M20 x 1.5 | Connection |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 13 | HOUSING | Explosion Proof | Housing Type |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 14 | DISPLAY | LCD | Display Type |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 15 | ALARM | Visual & Audible | Alarm Type |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 16 | SPEC16 | 11.99.40.2619 | 11.99.40.2619 1 1 |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 17 | SPEC17 | 1 | /.� 1 P � | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 18 | SPEC18 | 1 | be incorporated; 1 - Final | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 19 | SPEC19 | L.&1 | on project L.&1 no impact | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 20 | SPEC20 | 11.99.40.2619 | 11.99.40.2619 1 Instrument |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 21 | SPEC21 | 1 | be incorporated: 1 - Final | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 22 | SPEC22 | H2S | SHEET FOR H2S GAS DETECTOR |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 23 | SPEC23 | 14-07-2015 | C 14-07-2015 MA HN | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 24 | SPEC24 | 05-05-2015 | B 05-05-2015 MA HN | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 25 | SPEC25 | 11-03-2015 | A 11-03-2015 MA RT | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 26 | SPEC26 | 3.1 | 3.1 H2S GAS |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 27 | SPEC27 | H2S | SHEET FOR H2S |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 28 | SPEC28 | H2S | for the H2S Gas Detector |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 29 | SPEC29 | H2S | H2S Hydrogen Sulfide |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 30 | SPEC30 | H2S | SHEET FOR H2S |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 31 | SPEC31 | 1 | 1 11.99.52.1620 MATERIAL | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 32 | SPEC32 | 2 | 2 11.99.40.1611 DATASHEET |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 33 | SPEC33 | H2S | SHEET FOR H2S |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 34 | SPEC34 | 3.1 | 3.1 H2S GAS |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 35 | SPEC35 | H2S | of the H2S Gas Detector |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 36 | SPEC36 | 2 | 2 EQUIPMENT H2S |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 37 | SPEC37 | 7 | 7 DETECTOR METHOD |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 38 | SPEC38 | 8 | 8 OUTPUT 4-20mA | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 39 | SPEC39 | 9 | 9 INSTRUMENT RANGE | ppm |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 40 | SPEC40 | ±2 | ±2 PPM OR | ppm |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 41 | SPEC41 | 11 | DETECTOR DATA 11 REPEATABILITY APPLIED |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 42 | SPEC42 | 13 | 13 ACCURACY ± | % |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 43 | SPEC43 | 15 | 15 FALSE ALARM |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 44 | SPEC44 | H2S | SHEET FOR H2S REV.1 Date: |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 45 | SPEC45 | 18 | 18 CALIBRATION GAS |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 46 | SPEC46 | 22 | 22 SUPPLY VOLT | VDC |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 47 | SPEC47 | 23 | 23 POWER CONSUMPTION | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 48 | SPEC48 | 24 | 24 PEAK INRUSH | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 49 | SPEC49 | 12omA | 12omA @ 24 | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 50 | SPEC50 | 29 | 29 HUMIDITY (MAX) | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 51 | SPEC51 | 30 | TEMPERATURE REQUIREMENT 30 RANGE -40°C | °C |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 52 | SPEC52 | 31 | 31 STORAGE TEMPERATURE | °C |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 53 | SPEC53 | 33 | ENCLOSURE 33 MATERIAL 316 | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 54 | SPEC54 | H2S | SHEET FOR H2S REV. 1 |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 55 | SPEC55 | 40 | PURCHASE 40 MANUFACTURER GENERAL | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 56 | SPEC56 | 41 | 41 DETECTOR MODEL |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 57 | SPEC57 | 1) | 1) SS316 TAG | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 58 | SPEC58 | 1 | 1 11-76-XTGD-5401-01 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 59 | SPEC59 | STATION-1 | STATION-1 MAIN VALVE | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 60 | SPEC60 | 2 | 2 11-76-XTGD-5401-02 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 61 | SPEC61 | 3 | 3 11-76-XTGD-5401-05 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 62 | SPEC62 | STATION-1 | STATION-1 MAIN VALVE | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 63 | SPEC63 | 4 | 4 11-76-XTGD-5402-01 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 64 | SPEC64 | STATION-2 | STATION-2 MAIN VALVE | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 65 | SPEC65 | 5 | 5 11-76-XTGD-5402-02 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 66 | SPEC66 | 6 | 6 11-76-XTGD-5402-05 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 67 | SPEC67 | STATION-2 | STATION-2 MAIN VALVE | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 68 | SPEC68 | 7 | 7 11-71-XTGD-1055W-10 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 69 | SPEC69 | H2S | SHEET FOR H2S REV. 1 |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 70 | SPEC70 | 8 | 8 11-71-XTGD-1055W-11 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 71 | SPEC71 | 9 | 9 11-71-XTGD-1055W-12 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 72 | SPEC72 | 10 | 10 11-71-XTGD-1055W-03 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 73 | SPEC73 | 11 | 11 11-71-XTGD-1055W-04 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 74 | SPEC74 | 12 | 12 11-71-XTGD-1055W-13 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 75 | SPEC75 | 13 | 13 11-71-XTGD-1055W-14 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 76 | SPEC76 | 14 | 14 11-71-XTGD-1054W-01 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 77 | SPEC77 | 15 | 15 11-71-XTGD-1054W-02 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 78 | SPEC78 | 16 | 16 11-71-XTGD-1054W-07 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 79 | SPEC79 | 17 | 17 11-71-XTGD-1054W-08 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 80 | SPEC80 | 18 | 18 11-71-XTGD-1052P-01 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 81 | SPEC81 | 19 | 19 11-71-XTGD-1052P-02 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 82 | SPEC82 | 20 | 20 11-71-XTGD-1052P-03 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 83 | SPEC83 | 21 | 21 11-71-XTGD-1051 P-01 |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 84 | SPEC84 | 22 | 22 11-71-XTGD-1051 P-02 |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 85 | SPEC85 | 23 | 23 11-71-XTGD-1046W-03 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 86 | SPEC86 | 24 | 24 11-71-XTGD-1046W-04 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 87 | SPEC87 | 25 | 25 11-71-XTGD-1051 P-03 |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 88 | SPEC88 | 26 | 26 11-71-XTGD-1046W-14 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 89 | SPEC89 | 27 | 27 11-71-XTGD-1046W-15 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 90 | SPEC90 | 28 | 28 11-71-XTGD-1046W-16 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 91 | SPEC91 | 29 | 29 11-71-XTGD-1046W-17 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 92 | SPEC92 | H2S | SHEET FOR H2S REV. 1 |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 93 | SPEC93 | 30 | 30 11-71-XTGD-1046W-18 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 94 | SPEC94 | 31 | 31 11-71-XTGD-1046W-19 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 95 | SPEC95 | 32 | 32 11-71-XTGD-1046W-20 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 96 | SPEC96 | 33 | 33 11-71-XTGD-1046W-21 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 97 | SPEC97 | 34 | 34 11-71-XTGD-1046W-22 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 98 | SPEC98 | 35 | 35 11-71-XTGD-1046W-05 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 99 | SPEC99 | 36 | 36 11-71-XTGD-1046W-06 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 100 | SPEC100 | 37 | 37 11-71-XTGD-1053W-01 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 101 | SPEC101 | 38 | 38 11-71-XTGD-1053W-02 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 102 | SPEC102 | 39 | 39 11-71-XTGD-1053W-07 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 103 | SPEC103 | 40 | 40 11-71-XTGD-1053W-08 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 104 | SPEC104 | 41 | 41 11-18-XTGD-5403-14 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 105 | SPEC105 | 42 | 42 11-18-XTGD-5403-15 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 106 | SPEC106 | 43 | 43 11-18-XTGD-5403-16 TOXIC | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 107 | SPEC107 | 44 | 44 11-18-XTGD-5403-17 TOXIC | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 108 | SPEC108 | 45 | 45 11-18-XTGD-5403-18 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 109 | SPEC109 | 46 | 46 11-18-XTGD-5403-19 TOXIC |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 110 | SPEC110 | 47 | 47 11-18-XTG D-5403-20 |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 111 | SPEC111 | 48 | 48 44-76-XTGD-5401-01 TOXIC | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 112 | SPEC112 | 49 | 49 44-76-XTG D-5401-02 | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 113 | SPEC113 | 50 | 50 44-76-XTGD-5401-05 TOXIC | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 114 | SPEC114 | 51 | 51 44- 76-XTG | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 115 | SPEC115 | H2S | SHEET FOR H2S REV. 1 |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 116 | SPEC116 | 52 | 52 44- 76-XTG | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 117 | SPEC117 | 53 | 53 44-76-XTGD-5401-08 TOXIC | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 118 | SPEC118 | H2S | SHEET FOR H2S |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 119 | SPEC119 | H2S | H2S Gas Detection |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 120 | SPEC120 | 4-20mA | • 4-20mA output | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 121 | SPEC121 | (0-20 | Detection Ranges (0-20 ppm, | ppm |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 122 | SPEC122 | 0-50 | 0-50 ppm, 0-100 | ppm |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 123 | SPEC123 | 4-20 | provides a 4-20 mA | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 124 | SPEC124 | S4000TH | addition, the S4000TH |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 125 | SPEC125 | 4-20 | display and 4-20 mA readings | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 126 | SPEC126 | (0-20 | Sensor Range (0-20 ppm, 0-50 | ppm |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 127 | SPEC127 | H2S | H2S |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 128 | SPEC128 | #09-16 | #09-16 Mactech Building | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 129 | SPEC129 | (600 | (600 Ohms max): | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 130 | SPEC130 | (4-20 | (4-20 mA, PIN | ppm |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 131 | SPEC131 | 3 | push terminals) 3 wire shielded | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 132 | SPEC132 | 24 | remote sensor@ 24 VDC | VDC |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 133 | SPEC133 | 350 | 350 mA max. | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 134 | SPEC134 | (3x) | (3x) SPOT - |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 135 | SPEC135 | 0-20 | 0-20 mA (650 | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 136 | SPEC136 | 1.5 | I Cal 1.5 mA '** | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 137 | SPEC137 | 1.5 | Setup mode 1.5 mA"' | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 138 | SPEC138 | 4 | Zero reading 4 mA+0.2 mA | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 139 | SPEC139 | 0-100% | 0-100% scale 4-20 | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 140 | SPEC140 | 20-22 | Over-range 20-22 mA | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 141 | SPEC141 | 61508 | to IEC 61508 0-20 ppm, | ppm |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 142 | SPEC142 | ±2 | setup ±2 ppm or | ppm |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 143 | SPEC143 | -S8°F | Range: -S8°F to 185°F | °C |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 144 | SPEC144 | 10% | Range: 10% to 95% | % |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 145 | SPEC145 | 8 | environments has 8 k>wer safety | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 146 | SPEC146 | 3.5 | be entier 3.5 mA or | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 147 | SPEC147 | 07 | Effective 07 Mar 2011 | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 148 | SPEC148 | 4-20MA | t-c (Std) 4-20MA OUTPUT. WITHOUT | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 149 | SPEC149 | 2- | 2- J 4-20MA | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 150 | SPEC150 | 3-o | 3-o 4-20MA OUTPUT, | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 151 | SPEC151 | 4-n | 4-n 4-20MA OUTPUT. | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 152 | SPEC152 | 5- | 5- 4-20MA OUTPUT, | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 153 | SPEC153 | 6-u | 6-u 4-20MA OUTPUT. | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 154 | SPEC154 | 8-n | 8-n 4-20MA OUTPUT.WITH | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 155 | SPEC155 | 9-o | 9-o 4·20MA OUTPUT. | mA |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 156 | SPEC156 | 1-r,, | 1-r,, LATCH ALARM/NON-LATCH |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 157 | SPEC157 | 2-o | 2-o LATCH ALARM/NON-LATCH |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 158 | SPEC158 | 3-o | 3-o LATCH ALARM/LATCH |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 159 | SPEC159 | 4-o | 4-o LATCH ALARM/LATCH |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 160 | SPEC160 | 5- | 5- . NON-LATCH |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 161 | SPEC161 | 6-o | 6-o NON-LATCH ALARM/NON-LATCH |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 162 | SPEC162 | 8-o | 8-o NON-LATCH ALARM/LATCH |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 163 | SPEC163 | H2S-SENSOR: | C. H2S-SENSOR: |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 164 | SPEC164 | 01-u | 01-u (Std) 50445-1 | ppm |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 165 | SPEC165 | 02-o | 02-o 50445-5 SENSOR | ppm |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 166 | SPEC166 | 03-o | 03-o 50445-9 SENSOR | ppm |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 167 | SPEC167 | 04-o | 04-o 50448-1 SENSOR | ppm |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 168 | SPEC168 | 05-o | 05-o 50448-5 SENSOR | ppm |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 169 | SPEC169 | 06-o | 06-o 50448·9 SENSOR | ppm |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 170 | SPEC170 | 11-o | 11-o 51457-ll SENSOR |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 171 | SPEC171 | 12- | 12- 51457-SL SENSOR |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 172 | SPEC172 | 13-o | 13-o 51457·9L SENSOR |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 173 | SPEC173 | 14·0 | 14·0 NO SENSOR | ppm |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 174 | SPEC174 | 15-o | 15-o NO SENSOR | ppm |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 175 | SPEC175 | 1·o | 1·o (Std) ATEX/CSA-English |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
44-76-XTGD-5401 | FG-FGAS | 3 | 176 | SPEC176 | 3·.:i | 3·.:i ATEX/CSA·ENGLISH--SCREW TERMINAL |  |  |  | P11.99.40.2619 | P11569-11-99-40-2619
11-18-XTGD-1605 | FG-FGAS | 3 | 1 | NACC01 | ±10 | Accuracy | % |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 2 | HSE-HAZ_AREA | Hazardous Area | Area Classification |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 3 | CALR01 | 0–50 | Calibrated Range | ppm |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 4 | DETCOMM | 4–20 mA (HART) | Detector Communication |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 5 | ENVIRONT |  | Environment |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 6 | ACFS01 | Warning, Alarm | Fail Safe State |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 7 | POWREQ | 24 VDC | Power Requirement | V |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 8 | TEMP01 | -40 to +75 | Operating Temperature | °C |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 9 | CERTIF | ATEX, IECEx | Certification |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 10 | MFGR | TYCO | Manufacturer |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 11 | MODEL | H2S Gas Detector | Model/Type |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 12 | CONN01 | M20 x 1.5 | Connection |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 13 | HOUSING | Explosion Proof | Housing Type |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 14 | DISPLAY | LCD | Display Type |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 15 | ALARM | Visual & Audible | Alarm Type |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 16 | SPEC16 | 11.99.40.2619 | 11.99.40.2619 1 1 |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 17 | SPEC17 | 1 | /.� 1 P � | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 18 | SPEC18 | 1 | be incorporated; 1 - Final | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 19 | SPEC19 | L.&1 | on project L.&1 no impact | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 20 | SPEC20 | 11.99.40.2619 | 11.99.40.2619 1 Instrument |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 21 | SPEC21 | 1 | be incorporated: 1 - Final | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 22 | SPEC22 | H2S | SHEET FOR H2S GAS DETECTOR |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 23 | SPEC23 | 14-07-2015 | C 14-07-2015 MA HN | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 24 | SPEC24 | 05-05-2015 | B 05-05-2015 MA HN | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 25 | SPEC25 | 11-03-2015 | A 11-03-2015 MA RT | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 26 | SPEC26 | 3.1 | 3.1 H2S GAS |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 27 | SPEC27 | H2S | SHEET FOR H2S |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 28 | SPEC28 | H2S | for the H2S Gas Detector |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 29 | SPEC29 | H2S | H2S Hydrogen Sulfide |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 30 | SPEC30 | H2S | SHEET FOR H2S |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 31 | SPEC31 | 1 | 1 11.99.52.1620 MATERIAL | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 32 | SPEC32 | 2 | 2 11.99.40.1611 DATASHEET |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 33 | SPEC33 | H2S | SHEET FOR H2S |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 34 | SPEC34 | 3.1 | 3.1 H2S GAS |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 35 | SPEC35 | H2S | of the H2S Gas Detector |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 36 | SPEC36 | 2 | 2 EQUIPMENT H2S |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 37 | SPEC37 | 7 | 7 DETECTOR METHOD |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 38 | SPEC38 | 8 | 8 OUTPUT 4-20mA | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 39 | SPEC39 | 9 | 9 INSTRUMENT RANGE | ppm |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 40 | SPEC40 | ±2 | ±2 PPM OR | ppm |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 41 | SPEC41 | 11 | DETECTOR DATA 11 REPEATABILITY APPLIED |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 42 | SPEC42 | 13 | 13 ACCURACY ± | % |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 43 | SPEC43 | 15 | 15 FALSE ALARM |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 44 | SPEC44 | H2S | SHEET FOR H2S REV.1 Date: |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 45 | SPEC45 | 18 | 18 CALIBRATION GAS |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 46 | SPEC46 | 22 | 22 SUPPLY VOLT | VDC |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 47 | SPEC47 | 23 | 23 POWER CONSUMPTION | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 48 | SPEC48 | 24 | 24 PEAK INRUSH | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 49 | SPEC49 | 12omA | 12omA @ 24 | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 50 | SPEC50 | 29 | 29 HUMIDITY (MAX) | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 51 | SPEC51 | 30 | TEMPERATURE REQUIREMENT 30 RANGE -40°C | °C |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 52 | SPEC52 | 31 | 31 STORAGE TEMPERATURE | °C |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 53 | SPEC53 | 33 | ENCLOSURE 33 MATERIAL 316 | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 54 | SPEC54 | H2S | SHEET FOR H2S REV. 1 |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 55 | SPEC55 | 40 | PURCHASE 40 MANUFACTURER GENERAL | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 56 | SPEC56 | 41 | 41 DETECTOR MODEL |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 57 | SPEC57 | 1) | 1) SS316 TAG | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 58 | SPEC58 | 1 | 1 11-76-XTGD-5401-01 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 59 | SPEC59 | STATION-1 | STATION-1 MAIN VALVE | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 60 | SPEC60 | 2 | 2 11-76-XTGD-5401-02 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 61 | SPEC61 | 3 | 3 11-76-XTGD-5401-05 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 62 | SPEC62 | STATION-1 | STATION-1 MAIN VALVE | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 63 | SPEC63 | 4 | 4 11-76-XTGD-5402-01 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 64 | SPEC64 | STATION-2 | STATION-2 MAIN VALVE | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 65 | SPEC65 | 5 | 5 11-76-XTGD-5402-02 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 66 | SPEC66 | 6 | 6 11-76-XTGD-5402-05 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 67 | SPEC67 | STATION-2 | STATION-2 MAIN VALVE | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 68 | SPEC68 | 7 | 7 11-71-XTGD-1055W-10 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 69 | SPEC69 | H2S | SHEET FOR H2S REV. 1 |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 70 | SPEC70 | 8 | 8 11-71-XTGD-1055W-11 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 71 | SPEC71 | 9 | 9 11-71-XTGD-1055W-12 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 72 | SPEC72 | 10 | 10 11-71-XTGD-1055W-03 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 73 | SPEC73 | 11 | 11 11-71-XTGD-1055W-04 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 74 | SPEC74 | 12 | 12 11-71-XTGD-1055W-13 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 75 | SPEC75 | 13 | 13 11-71-XTGD-1055W-14 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 76 | SPEC76 | 14 | 14 11-71-XTGD-1054W-01 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 77 | SPEC77 | 15 | 15 11-71-XTGD-1054W-02 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 78 | SPEC78 | 16 | 16 11-71-XTGD-1054W-07 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 79 | SPEC79 | 17 | 17 11-71-XTGD-1054W-08 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 80 | SPEC80 | 18 | 18 11-71-XTGD-1052P-01 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 81 | SPEC81 | 19 | 19 11-71-XTGD-1052P-02 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 82 | SPEC82 | 20 | 20 11-71-XTGD-1052P-03 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 83 | SPEC83 | 21 | 21 11-71-XTGD-1051 P-01 |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 84 | SPEC84 | 22 | 22 11-71-XTGD-1051 P-02 |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 85 | SPEC85 | 23 | 23 11-71-XTGD-1046W-03 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 86 | SPEC86 | 24 | 24 11-71-XTGD-1046W-04 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 87 | SPEC87 | 25 | 25 11-71-XTGD-1051 P-03 |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 88 | SPEC88 | 26 | 26 11-71-XTGD-1046W-14 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 89 | SPEC89 | 27 | 27 11-71-XTGD-1046W-15 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 90 | SPEC90 | 28 | 28 11-71-XTGD-1046W-16 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 91 | SPEC91 | 29 | 29 11-71-XTGD-1046W-17 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 92 | SPEC92 | H2S | SHEET FOR H2S REV. 1 |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 93 | SPEC93 | 30 | 30 11-71-XTGD-1046W-18 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 94 | SPEC94 | 31 | 31 11-71-XTGD-1046W-19 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 95 | SPEC95 | 32 | 32 11-71-XTGD-1046W-20 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 96 | SPEC96 | 33 | 33 11-71-XTGD-1046W-21 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 97 | SPEC97 | 34 | 34 11-71-XTGD-1046W-22 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 98 | SPEC98 | 35 | 35 11-71-XTGD-1046W-05 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 99 | SPEC99 | 36 | 36 11-71-XTGD-1046W-06 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 100 | SPEC100 | 37 | 37 11-71-XTGD-1053W-01 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 101 | SPEC101 | 38 | 38 11-71-XTGD-1053W-02 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 102 | SPEC102 | 39 | 39 11-71-XTGD-1053W-07 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 103 | SPEC103 | 40 | 40 11-71-XTGD-1053W-08 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 104 | SPEC104 | 41 | 41 11-18-XTGD-5403-14 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 105 | SPEC105 | 42 | 42 11-18-XTGD-5403-15 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 106 | SPEC106 | 43 | 43 11-18-XTGD-5403-16 TOXIC | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 107 | SPEC107 | 44 | 44 11-18-XTGD-5403-17 TOXIC | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 108 | SPEC108 | 45 | 45 11-18-XTGD-5403-18 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 109 | SPEC109 | 46 | 46 11-18-XTGD-5403-19 TOXIC |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 110 | SPEC110 | 47 | 47 11-18-XTG D-5403-20 |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 111 | SPEC111 | 48 | 48 44-76-XTGD-5401-01 TOXIC | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 112 | SPEC112 | 49 | 49 44-76-XTG D-5401-02 | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 113 | SPEC113 | 50 | 50 44-76-XTGD-5401-05 TOXIC | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 114 | SPEC114 | 51 | 51 44- 76-XTG | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 115 | SPEC115 | H2S | SHEET FOR H2S REV. 1 |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 116 | SPEC116 | 52 | 52 44- 76-XTG | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 117 | SPEC117 | 53 | 53 44-76-XTGD-5401-08 TOXIC | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 118 | SPEC118 | H2S | SHEET FOR H2S |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 119 | SPEC119 | H2S | H2S Gas Detection |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 120 | SPEC120 | 4-20mA | • 4-20mA output | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 121 | SPEC121 | (0-20 | Detection Ranges (0-20 ppm, | ppm |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 122 | SPEC122 | 0-50 | 0-50 ppm, 0-100 | ppm |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 123 | SPEC123 | 4-20 | provides a 4-20 mA | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 124 | SPEC124 | S4000TH | addition, the S4000TH |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 125 | SPEC125 | 4-20 | display and 4-20 mA readings | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 126 | SPEC126 | (0-20 | Sensor Range (0-20 ppm, 0-50 | ppm |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 127 | SPEC127 | H2S | H2S |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 128 | SPEC128 | #09-16 | #09-16 Mactech Building | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 129 | SPEC129 | (600 | (600 Ohms max): | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 130 | SPEC130 | (4-20 | (4-20 mA, PIN | ppm |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 131 | SPEC131 | 3 | push terminals) 3 wire shielded | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 132 | SPEC132 | 24 | remote sensor@ 24 VDC | VDC |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 133 | SPEC133 | 350 | 350 mA max. | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 134 | SPEC134 | (3x) | (3x) SPOT - |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 135 | SPEC135 | 0-20 | 0-20 mA (650 | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 136 | SPEC136 | 1.5 | I Cal 1.5 mA '** | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 137 | SPEC137 | 1.5 | Setup mode 1.5 mA"' | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 138 | SPEC138 | 4 | Zero reading 4 mA+0.2 mA | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 139 | SPEC139 | 0-100% | 0-100% scale 4-20 | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 140 | SPEC140 | 20-22 | Over-range 20-22 mA | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 141 | SPEC141 | 61508 | to IEC 61508 0-20 ppm, | ppm |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 142 | SPEC142 | ±2 | setup ±2 ppm or | ppm |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 143 | SPEC143 | -S8°F | Range: -S8°F to 185°F | °C |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 144 | SPEC144 | 10% | Range: 10% to 95% | % |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 145 | SPEC145 | 8 | environments has 8 k>wer safety | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 146 | SPEC146 | 3.5 | be entier 3.5 mA or | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 147 | SPEC147 | 07 | Effective 07 Mar 2011 | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 148 | SPEC148 | 4-20MA | t-c (Std) 4-20MA OUTPUT. WITHOUT | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 149 | SPEC149 | 2- | 2- J 4-20MA | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 150 | SPEC150 | 3-o | 3-o 4-20MA OUTPUT, | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 151 | SPEC151 | 4-n | 4-n 4-20MA OUTPUT. | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 152 | SPEC152 | 5- | 5- 4-20MA OUTPUT, | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 153 | SPEC153 | 6-u | 6-u 4-20MA OUTPUT. | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 154 | SPEC154 | 8-n | 8-n 4-20MA OUTPUT.WITH | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 155 | SPEC155 | 9-o | 9-o 4·20MA OUTPUT. | mA |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 156 | SPEC156 | 1-r,, | 1-r,, LATCH ALARM/NON-LATCH |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 157 | SPEC157 | 2-o | 2-o LATCH ALARM/NON-LATCH |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 158 | SPEC158 | 3-o | 3-o LATCH ALARM/LATCH |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 159 | SPEC159 | 4-o | 4-o LATCH ALARM/LATCH |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 160 | SPEC160 | 5- | 5- . NON-LATCH |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 161 | SPEC161 | 6-o | 6-o NON-LATCH ALARM/NON-LATCH |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 162 | SPEC162 | 8-o | 8-o NON-LATCH ALARM/LATCH |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 163 | SPEC163 | H2S-SENSOR: | C. H2S-SENSOR: |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 164 | SPEC164 | 01-u | 01-u (Std) 50445-1 | ppm |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 165 | SPEC165 | 02-o | 02-o 50445-5 SENSOR | ppm |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 166 | SPEC166 | 03-o | 03-o 50445-9 SENSOR | ppm |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 167 | SPEC167 | 04-o | 04-o 50448-1 SENSOR | ppm |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 168 | SPEC168 | 05-o | 05-o 50448-5 SENSOR | ppm |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 169 | SPEC169 | 06-o | 06-o 50448·9 SENSOR | ppm |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 170 | SPEC170 | 11-o | 11-o 51457-ll SENSOR |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 171 | SPEC171 | 12- | 12- 51457-SL SENSOR |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 172 | SPEC172 | 13-o | 13-o 51457·9L SENSOR |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 173 | SPEC173 | 14·0 | 14·0 NO SENSOR | ppm |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 174 | SPEC174 | 15-o | 15-o NO SENSOR | ppm |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 175 | SPEC175 | 1·o | 1·o (Std) ATEX/CSA-English |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1
11-18-XTGD-1605 | FG-FGAS | 3 | 176 | SPEC176 | 3·.:i | 3·.:i ATEX/CSA·ENGLISH--SCREW TERMINAL |  |  |  | P11569-11-99-40-1605-1 | P11569-11-99-40-1605-1